## Slide 1
Chart: 
| W38 | W39 | W40 | W41 | W42
Plan | 2 | 2 | 2 | 0 | 0
Actual | 2 | 2 | 2 | 0 | 0
Chart: 
| W38 | W39 | W40 | W41 | W42
Plan | 2 | 2 | 2 | 0 | 0
Actual | 2 | 2 | 2 | 0 | 0
Chart: 
| W38 | W39 | W40 | W41 | W42
Plan | 0 | 0 | 0 | 0 | 0
Actual | 0 | 0 | 0 | 0 | 0
Chart: 
| W38 | W39 | W40 | W41 | W42
Plan | 0 | 0 | 0 | 0 | 0
Actual | 0 | 0 | 0 | 0 | 0
Chart: 
| W38 | W39 | W40 | W41 | W42
Plan | 0 | 0 | 0 | 0 | 0
Actual | 0 | 0 | 0 | 0 | 0
Chart: 
| W38 | W39 | W40 | W41 | W42
Plan | 3 | 3 | 3 | 0 | 0
Actual | 3 | 3 | 3 | 0 | 0
Chart: 
| W38 | W39 | W40 | W41 | W42
Plan | 0 | 0 | 0 | 0 | 0
Actual | 0 | 0 | 0 | 0 | 0
Chart: 
| W38 | W39 | W40 | W41 | W42
Plan | 0 | 0 | 0 | 0 | 0
Actual | 0 | 0 | 0 | 0 | 0
Chart: 
| W38 | W39 | W40 | W41 | W42
Plan | 0 | 0 | 0 | 0 | 0
Actual | 0 | 0 | 0 | 0 | 0
Chart: 
| W38 | W39 | W40 | W41 | W42
Plan | 0 | 0 | 0 | 0 | 0
Actual | 0 | 0 | 0 | 0 | 0
Chart: 
| W38 | W39 | W40 | W41 | W42
Plan | 0 | 0 | 0 | 0 | 0
Actual | 0 | 0 | 0 | 0 | 0
Chart: 
| W38 | W39 | W40 | W41 | W42
Plan | 0 | 0 | 0 | 0 | 0
Actual | 0 | 0 | 0 | 0 | 0
PLC | Update Jumper | Installed | Authorized | Due Date
D3C | Shortbranches installed on PLC D3C, FSL (Flow Switch Low) Feed conv. Dryer 3 | Wk10 2026 | ✓ | Wk51 2026
D3C1 | Shortbranches installed on PLC D3C MainFlame On Interlock to TR ESP | wk16 | ✓ | Perlu konfirmasi
CMS1 | Forces installed on PLC CMS1 Level HiHi Switch Surge Bin - Digital_Alarms | Re-installed wk27 | ✓ | Wk27 2026
K2C | Conveying Blower opr ready E4AM01 on PLC K2C | Wk39 2026 | — | Perlu konfirmasi
K2C | Conveying Blower opr ready H21M03 on PLC K2C | Wk39 2026 | — | Perlu konfirmasi
K2C | Conveying Blower opr ready H21M04 on PLC K2C | Wk39 2026 | — | Perlu konfirmasi
No | ID | PLC | Description
1 | J-004 | K2C | Conveying Blower opr ready E4AM01 on PLC K2C
2 | J-005 | K2C | Conveying Blower opr ready H21M03 on PLC K2C
3 | J-006 | K2C | Conveying Blower opr ready H21M04 on PLC K2C
Chart: 
| CMS1 | D3C | D3C1 | K2C
AFI | 0 | 0 | 0 | 3
Shortbranches | 0 | 1 | 1 | 0
Forces | 1 | 0 | 0 | 0